## Sensor statuses
IRMA Matrix Sensor Statuses
Sensor status | Numeric | Description | Comment | Is a reset possible and useful? | How to generate?
sabotage | 1 | Sabotage. | False alarms can be suppressed by configuration sabotage aggregation. | No, this is set periodically by the picture processing algorithm.
config_backup_active | 2 | Primary configuration data is invalid; sensor is running on secondary (backup) configuration. |  | No, this status is constant after start of the sensor and is not resettable.
config_backup_missing | 3 | Primary configuration data is valid, but the secondary (backup) configuration is missing or invalid. |  | No, this status is constant after start of the sensor and is not resettable.
invalid_config_params | 5 | The configuration contains one or more parameters with values that do not conform with the respective constraints. |  | No, this status is constant after start of the sensor and is not resettable. | Special test firmware needed
invalid_config | 6 | The configuration data is invalid. |  | No, this status is constant after start of the sensor and is not resettable. | Special test firmware needed
service_mode_active | 4 | The sensor is currently running in service mode. | Is temporarily set during use of service tools. | No. The service tool needs to be closed.
over_temperature_detected | 7 | The maximum temperature was exceeded at least once. | Refers to over-temperature being detected at least once during current run of the sensor (for example the current day). | Yes. Return value of the resetting should be evaluated also. Return value will be "removed" if status was removed, otherwise "unchanged" because there currently still is over-temperature.
over_temperature_active | 8 | The maximum temperature is exceeded. | Refers to current over-temperature as detected by an internal sensor. | No. The current temperature is periodically detected by the sensor and the status may be overridden at any time.
fpga_restart | 9 | The FPGA was restarted. | The FPGA component had to be restarted due to inresponsiveness. | Yes. The return value of the reset should be evaluated also. Return value is "removed" if status was removed, otherwise "unchanged" because the status was not actually present.
power_fail | 10 | Undervoltage was detected. | On undervoltage the IR-LEDs are turned off and counting is not possible. Therefore this state is detected as a warning. | Yes. The return value of the reset should be evaluated also. Return value is "removed" if status was removed, otherwise "unchanged" because the status was not actually present.
communication_only | 11 | Only communication is possible, no counting functionality currently available. | On booting the sensor did not find a counting firmware. A communication firmware for updating is present. | No, this status is constant after start of the sensor and is not resettable.
Reminder
1. Query error statuses with iris::dist500::getSensorStatuses(SensorStatusSet& statusSet)
2. Reset error statuses with iris::dist500::resetSensorStatuses(const SensorStatusSet& statusSet, SensorStatusNotificationList& statusNotificationList)
3. At resetting, for each of the statuses requested to reset, a result is returned in the output parameter statusNotificationList.